## Guidelines and Contact Info
DATE: May 2022
Agent Confidential Price Guide - Pricing Guidelines and Contact Information
Guidelines
1. All published distributor net (Dnet) prices shown are 10% commission level in green column and 5% level in yellow column.
2. For Quotations, please contact your RCA Lighting Sales Manager OR quotes@rcaled.com. Contact information is shown below.
3. $2,000.00 freight allowed minimum order amout for shipments within the 48 contiguous United States. 10% shipping charge for orders under $2000 with a minimum ship charge of $30.
4. No material may be returned without prior written confirmation (RMA) from RCA Commercial Lighting.
5. Returns are subject to a restocking fee per RCA Commercial Lighting Terms and Conditions. Custom Orders are non-returnable.
6. All published Dnet prices are subject to change without notice.
7. See www.rcaled.com for Limited Warranty and Terms/Conditions.
8. Please look for Quick Ship Products Shown in RED. Please confirm availability with Customer Service.
All Items shown in RED are Quick Ship Items
Contacts
Phone/Website | 800-722-2161 | https://www.rcaled.com/
VP Sales-Midwest Region | Chris Petty | cpetty@rcaled.com | (317) 542-2671
VP Sales-East Region | Jim Bailey | jbailey@rcaled.com | (201) 787-6361
VP Sales-Southeast Region | Mark Hobart | mhobart@rcaled.com | (770) 880-7377
VP Sales-Southwest Region | Quotes and Sales | Quotes@rcaled.com
National Accounts | Tom Giorgio | tgiorgio@rcaled.com | (574) 302-2993
Customer Service | Athena Zafiropoulos | azafiropoulos@dtsus.net | (317) 759-6964
President | Spencer Bankston | sbankston@rcaled.com | (317) 542-2661
Warranty Claims | Jason Alexander | jalexander@dtsus.net | (317) 340-9561
Tech Support | Support | Support@rcaled.com | (800) 722-2161
Quotations | Quotes and Sales | Quotes@rcaled.com

## Simple Choice Troffer+Retrofit
Simple Choice Troffer- Retrofit(-RV) and Lay-in(-TBV)
Lay-In 2x2, 2x4, 1x4 |  | EM10W-Installed
Troffer Lay-Ins
Item Number | MPN | Description | 10% | 5%
LGE-2X2SI-25-35-3200-TBV | F2435TA2142 | VLC 2x2, 25w, 3200lm, 3500K Layin | 74 | 65.12 | Stock Item
LGE-2X2SI-25-40-3200-TBV | F2440TA2142 | VLC 2x2, 25w, 3200lm, 4000K Layin | 74 | 65.12
LGE-2X2SC-25-35-3200-TBV | F2435TA2S42 | VLC Sensor Connect 2x2, 25w, 3200lm, 3500K Layin | 96 | 84.48
LGE-2X2SC-25-40-3200-TBV | F2440TA2S42 | VLC Sensor Connect 2x2, 25w, 3200lm, 4000K Layin | 96 | 84.48
LGE-2X4SI-25-35-3200-TBV | F2535TA2111 | VLC 2x4, 25w, 3250lm, 3200K Layin | 89 | 78.32
LGE-2X4SI-25-40-3200-TBV | F2540TA2111 | VLC 2x4, 25w, 3200lm, 4000K Layin | 89 | 78.32
LGE-2X4SI-31-35-4000-TBV | F3035TA2112 | VLC 2x4, 31w, 4000lm, 3500K Layin | 94 | 82.72
LGE-2X4SI-31-40-4000-TBV | F3040TA2112 | VLC 2x4, 31w, 4000lm, 4000K Layin | 94 | 82.72
LGE-2X4SC-25-35-3200-TBV | F2535TA2S11 | VLC Sensor Connect 2x4, 25w, 3200lm, 3500K Layin | 108 | 95.04
LGE-2X4SC-25-40-3200-TBV | F2540TA2S11 | VLC Sensor Connect 2x4, 25w, 3200lm, 4000K Layin | 108 | 95.04
LGE-2X4SC-31-35-4000-TBV | F3035TA2S12 | VLC Sensor Connect 2x4, 31w, 4000lm, 3500K Layin | 111 | 97.68
LGE-2X4SC-31-40-4000-TBV | F3040TA2S12 | VLC Sensor Connect 2x4, 31w, 4000lm, 4000K Layin | 111 | 97.68
LGE-1X4SI-31-35-4000-TBV | F3035TA2131 | VLC 1x4, 31w, 3750lm, 3500K Layin | 89 | 78.32
LGE-1X4SI-31-40-4000-TBV | F3040TA2131 | VLC 1x4, 31w, 3875lm, 4000K Layin | 89 | 78.32
LGE-1X4SC-31-35-4000-TBV | F3035TA2S31 | VLC Sensor Connect 1x4, 31w, 3750lm, 3500K Layin | 109 | 95.92
LGE-1X4SC-31-40-4000-TBV | F3040TA2S31 | VLC Sensor Connect 1x4, 31w, 3875lm, 4000K Layin | 109 | 95.92
EM10W-Installed | EMKITASBP | EMERGENCY BATTERY BACKUP INSTALLATION, 10W, 120-277V, 90 MINUTES | 145 | 127.6
-6C |  | 6 ft Black Cord SGT Non Metal Wrapped | 20 | 17.6
-6F |  | 6 ft Flex Cable Metal Wrapped Whip | 25 | 22
LGE-DRIVER-32-40 |  | Replacement Driver- Specify Fixture | 25 | 22
Retrofit 2x2, 2x4 |  | Slotted Side Rails 2x2 Slotted Side Rails 2x4 | LGE-SRTA-END-BRK
Troffer Retrofits
Item Number | MPN | Description | 10% | 5%
LGE-2X4SI-25-35-3200-RV | F2535RB1111 | 2x4, 25w, 3250lm, 3500K Retrofit | 89 | 78.32
LGE-2X4SI-25-40-3200-RV | F2540RB1111 | 2x4, 25w, 3250lm, 4000K Retrofit | 89 | 78.32
LGE-2X4SI-31-35-4000-RV | F3035RB1111 | 2x4, 31w, 4000lm, 3500K Retrofit | 94 | 82.72 | Stock Item
LGE-2X4SI-31-40-4000-RV | F3040RB1111 | 2x4, 31w, 4000lm, 4000K Retrofit | 94 | 82.72
LGE-2X2SI-25-35-3200-RV | F2435RB1141 | 2x2, 25w, 3200lm, 3500K Retrofit | 74 | 65.12
LGE-2X2SI-25-40-3200-RV | F2440RB1141 | 2x2, 25w, 3200lm, 4000K Retrofit | 74 | 65.12
LGE-2X4SC-31-35-4000-RV | F3035RB1S11 | Sensor Connect 2x4, 31w, 4000lm, 3500K Retrofit | 111 | 97.68
LGE-2X4SC-31-40-4000-RV | F3040RB1S11 | Sensor Connect 2x4, 31w, 4000lm, 4000K Retrofit | 111 | 97.68
LGE-2X2SC-25-35-3200-RV | F2435RB1S41 | Sensor Connect 2x2, 25w, 3200lm, 3500K Retrofit | 96 | 84.48
LGE-2X2SC-25-40-3200-RV | F2440RB1S41 | Sensor Connect 2x2, 25w, 3200lm, 4000K Retrofit | 96 | 84.48
-6C |  | 6 ft Black Cord SGT Non Metal Wrapped | 20 | 17.6
-6F |  | 6 ft Flex Cable Metal Wrapped Whip | 25 | 22
LGE-DRIVER-32-40 |  | Replacement Driver- Specify Fixture | 25 | 22
LGE-SRTA-2X2-ABRK | FBB5WV01 | 2X2 Slotted Side Rail (White) | 9 | 7.92
LGE-SRTA-2X4-ABRK | FBB8WV01 | 2X4 Slotted Side Rail (White) | 13 | 11.44
LGE-SRTA-END-BRK | FBS4WU01 | Gap Filler - Void Fill | 11 | 9.68
Accessories
LGE-DONGLE-VLC | 9CM2315WD1 | ZigBee VLC Dongle | 11 | 9.68 | Stock Item
LGE-SWITCH-2B-BT | 9SSA2B1B520 | 1-group On/Off/Dim, 2-button, wireless switch | 65 | 57.2
LGE-SWITCH-4B-BT | 9SSA2B2B520 | 2-group On/Off/Dim, 4-button, wireless switch | 65 | 57.2
LGE-SWITCH-2B-AC | 9SMB2B1B5C2 | 1-group On/Off/Dim, 2-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-AC | 9SMB2B2B5C2 | 2-group On/Off/Dim, 4-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-SC | 9SSA2S4B520 | Scene Selector, 1-Group | 85 | 74.8
LGE-SWITCH-DL |  | Dummy Load for AC powered switch | 2.5 | 2.2
LGE-MULTI-SENSOR | 9SD131VVDA.ALWB000 | Photo, Motion Sensor with ZigBee Dongle plugin | 45 | 39.6
LGE-TBAR-CLIP | BKTTR015122 | Troffer/T-Bar Clip for Multi Sensor | 4.05 | 3.564
LGE-CEILING-CLIP | BKTCE015123 | Ceiling Clip for Multi Sensor | 5.3 | 4.664

## LED Flat Panels
Selectable Flat Panels
| 2x4 | 2x2
Item Number |  | Description | 10% | 5%
PS1A1TB1011 |  | 2x4 CT Selectable 35/40/50 Power selectable 30/40/50w Panel LED | 85 | 74.8 | Stock Item
PS1A1TB1041 |  | 2x2 CT Selectable 35/40/50 Power Selectable 20/30/40W Panel LED | 60 | 52.8
PSI-JBE |  | Junction Box Extension for PS1 Series Troffers | 2.5 | 2.2
EM-L2554-XX |  | 25W output Battery backup 100-277V AC | 175 | 154
-6C |  | 6 ft Black Cord SGT Non Metal Wrapped | 20 | 17.6
-6F |  | 6 ft Flex Cable Metal Wrapped Whip | 25 | 22
R Series Flat Panels
2X2 |  | 2X4 1x4
Item Number |  | Description | 10% | 5%
R30T66U2DU40 |  | RCA 2 x 2 Flat Panel LED Ceiling Light, 4000k 3230 Lumens | 105 | 92.4 | Stock Item
R30T66U2DU50 |  | RCA 2 x 2 Flat Panel LED Ceiling Light, 5000k 3230 Lumens | 105 | 92.4
R40TR6U2DU40 |  | RCA 2 x 4 Flat Panel LED Ceiling Light, 4000k 4750 Lumens {T24B3315DU40} | 145 | 127.6
R30TR3U2DU50 |  | 1 x 4 30W 5000K LED Flat Panel | 167 | 146.96
PHL Series Flat Panels
Item Number |  | Description | 10% | 5%
P15050TB1041 |  | 150W, 2x2, High Output Flat Panel, 130lm/W, 19500 Lm, 5000K | 330 | 290.4
Accessories
1x4 Surface Mount Kit |  | 2x2 Surface Mount Kit | 2x4 Surface Mount Kit
Item Number |  | Description | 10% | 5%
T14SM-Kit |  | Surface Mount Kit for 1'x4' LED Light | 91 | 80.08
T22SM-Kit |  | Surface Mount Kit for 2'x2' LED Light | 91 | 80.08
T24SM-Kit |  | Surface Mount Kit for 2'x4' LED light | 106 | 93.28

## Linear High Bays
Simple Choice High Bay
High Bay |  | LGE-HBSC2-BRK Wireguard | LGE-HB-OSZ-IP65-V
Item Number | MPN | Description | 10% | 5%
LGE-HB-80-40-12L-110D(CL) | H0840CA1101 | 150lm/W, 80W, 110x110D, Clear Lens, 4000K (VLC) | 202 | 177.76 | Stock Item
LGE-HB-80-40-12L-60D(CL) | H0840CAS101 | 150lm/W, 80W, 110x60D, Clear Aisle Lens, 4000K (VLC) | 202 | 177.76
LGE-HB-80-40-12L-110D(FL) | H0840FA1101 | 150lm/W, 80W, 110x100D, Frost Lens, 4000K (VLC) | 202 | 177.76
LGE-HB-80-50-12L-110D(CL) | H0850CA1101 | 150lm/W, 80W, 110x110D, Clear Lens, 5000K (VLC) | 202 | 177.76
LGE-HB-80-50-12L-60D(CL) | H0850CAS101 | 150lm/W, 80W, 110x60D, Clear Aisle Lens, 5000K (VLC) | 202 | 177.76
LGE-HB-80-50-12L-110D(FL) | H0850FA1101 | 150lm/W, 80W, 110x100D, Frost Lens, 5000K (VLC) | 202 | 177.76
LGE-HB-160-40-24L-110D(CL) | H1640CA1101 | 150lm/W, 160W, 110x110D, Clear Lens, 4000K (VLC) | 275 | 242
LGE-HB-160-40-24L-60D(CL) | H1640CAS101 | 150lm/W, 160W, 110x60D, Clear Aisle Lens, 4000K (VLC) | 275 | 242
LGE-HB-160-40-24L-110D(FL) | H1640FA1101 | 150lm/W, 160W, 110x100D, Frost Lens, 4000K (VLC) | 275 | 242
LGE-HB-160-50-24L-110D(CL) | H1650CA1101 | 150lm/W, 160W, 110x110D, Clear Lens, 5000K (VLC) | 275 | 242
LGE-HB-160-50-24L-60D(CL) | H1650CAS101 | 150lm/W, 160W, 110x60D, Clear Aisle Lens, 5000K (VLC) | 275 | 242
LGE-HB-160-50-24L-110D(FL) | H1650FA1101 | 150lm/W, 160W, 110x100D, Frost Lens, 5000K (VLC) | 275 | 242
LGE-HB-240-40-36L-110D(CL) | H2440CA1101 | 150lm/W, 240W, 110x110D, Clear Lens, 4000K (VLC) | 381 | 335.28
LGE-HB-240-40-36L-60D(CL) | H2440CAS101 | 150lm/W, 240W, 110x60D, Clear Aisle Lens, 4000K (VLC) | 381 | 335.28
LGE-HB-240-40-36L-110D(FL) | H2440FA1101 | 150lm/W, 240W, 110x100D, Frost Lens, 4000K (VLC) | 381 | 335.28
LGE-HB-240-50-36L-110D(CL) | H2450CA1101 | 150lm/W, 240W, 110x110D, Clear Lens, 5000K (VLC) | 381 | 335.28
LGE-HB-240-50-36L-60D(CL) | H2450CAS101 | 150lm/W, 240W, 110x60D, Clear Aisle Lens, 5000K (VLC) | 381 | 335.28
LGE-HB-240-50-36L-110D(FL) | H2450FA1101 | 150lm/W, 240W, 110x100D, Frost Lens, 5000K (VLC) | 381 | 335.28
-12C |  | 12 ft Black Cord SGT Non Metal Wrapped | 30 | 26.4
-12F |  | 12 ft Flex Cable Metal Wrapped Whip | 35 | 30.8
Accessories
LGE-DONGLE-VLC | 9CM2315WD1 | ZigBee VLC Dongle | 11 | 9.68 | Stock Item
LGE-SWITCH-2B-BT | 9SSA2B1B520 | 1-group On/Off/Dim, 2-button, wireless switch | 65 | 57.2
LGE-SWITCH-4B-BT | 9SSA2B2B520 | 2-group On/Off/Dim, 4-button, wireless switch | 65 | 57.2
LGE-SWITCH-2B-AC | 9SMB2B1B5C2 | 1-group On/Off/Dim, 2-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-AC | 9SMB2B2B5C2 | 2-group On/Off/Dim, 4-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-SC | 9SSA2S4B520 | Scene Selector, 1-Group | 85 | 74.8
LGE-SWITCH-DL |  | Dummy Load for AC powered switch | 2.5 | 2.2
LGE-HBSC2-BRK | MAZ64943202 | Simple Choice High bay (Gen2)_Bracket for Surface Mounting | 13 | 11.44
LGE-HBSC2-WGD(S) | MAZ64943203 | Simple Choice High bay (Gen2)_Wireguard for Short(12L, 24L) | 20 | 17.6
LGE-HBSC2-WGD(L) | MAZ64943204 | Simple Choice High bay (Gen2)_Wireguard for Long(36L) | 24 | 21.12
LGE-HB-OSZ-IP65-V | 9SDA81WWD1 | High Bay Sensor, VLC | 45 | 39.6
HB-Y72 |  | Yoke and Toggle High Bay Suspension Kit Set of 2 | 12 | 10.56
EMA40ACT-170 |  | 40W 100-277V AC Battery Backup | 215 | 189.2
Linear High Bay: 600 Series
Linear Light |  | EM-L2554-XX
Item Number |  | Description | 10% | 5%
HB6-2480W-50 |  | 2ft 80W IP66 ULWL dimmable, 3m power cable | 232 | 204.16 | Stock Item
HB6-2480W-40 |  | LED Linear High Bay 2ft 80W 4000K | 232 | 204.16
HB6-36100W-50 |  | 3ft 100W IP66 ULWL dimmable, 3m power cable 13000lm 5000K | 255 | 224.4
HB6-36100W-40 |  | LED Linear High Bay 3ft 100W 4000K | 255 | 224.4
HB6-48160W-50 |  | LED Linear High Bay 4ft 160W 5000K | 365 | 321.2
HB6-48160W-40 |  | LED Linear High Bay 4ft 160W 4000K | 365 | 321.2
HB6-60200W-50 |  | LED Linear High Bay, 5ft 200W 5000K | 415 | 365.2
HB6-60200W-40 |  | LED Linear High Bay, 5ft 200W 4000K | 415 | 365.2
HB6-60200W-50-HV |  | 480 V Only 5' High Bay | 450 | 396
Accessories
NSF |  | NSF Rating | 25 | 22
EM-L2554-XX |  | 25W output Battery backup 100-277V AC | 175 | 154
HB6-MSPkg |  | Motion Sensor kit for HB6 Series High Bay | 95 | 83.6
HB6-MSB |  | Motion Sensor Bracket/ Wall Bracket | 8 | 7.04

## Round High Bays
Performance High Bay
High Bay |  | LGE-HB-BKT LGE-HB-OSZ-IP65-V
Item Number | MPN | Description | 10% | 5%
LGE-HB-093-40-12800-90D | H0940P901SF | 93W, 11,700lm, 4000K, 90 deg, IP65, VLC | 209 | 183.92 | Stock Item
LGE-HB-093-50-13020-90D | H0950P901SF | 93W, 11,700lm, 5000K, 90 deg, IP65, VLC Driver | 209 | 183.92
LGE-HB-136-40-18700-65D | H1340P651SF | 136W, 19,100lm, 4000K, 65 deg, IP65, VLC | 315 | 277.2
LGE-HB-136-40-18700-90D | H1340P901SF | 136W, 19,100lm, 4000K, 90 deg, IP65, VLC. | 315 | 277.2
LGE-HB-136-50-19040-65D | H1350P651SF | 136W, 19,100lm, 5000K, 65 deg, IP65, VLC | 315 | 277.2
LGE-HB-136-50-19040-90D | H1350P901SF | 136W, 19,100lm, 5000K, 90 deg, IP65, VLC | 315 | 277.2
-12C |  | 12 ft Black Cord SGT Non Metal Wrapped | 30 | 26.4
-12F |  | 12 ft Flex Cable Metal Wrapped Whip | 35 | 30.8
Accessories
LGE-DONGLE-VLC | 9CM2315WD1 | ZigBee VLC Dongle | 11 | 9.68 | Stock Item
LGE-SWITCH-2B-BT | 9SSA2B1B520 | 1-group On/Off/Dim, 2-button, wireless switch | 65 | 57.2
LGE-SWITCH-4B-BT | 9SSA2B2B520 | 2-group On/Off/Dim, 4-button, wireless switch | 65 | 57.2
LGE-SWITCH-2B-AC | 9SMB2B1B5C2 | 1-group On/Off/Dim, 2-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-AC | 9SMB2B2B5C2 | 2-group On/Off/Dim, 4-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-SC | 9SSA2S4B520 | Scene Selector, 1-Group | 85 | 74.8
LGE-SWITCH-DL |  | Dummy Load for AC powered switch | 2.5 | 2.2
LGE-HB-BKT | MAZ64943201 | High Bay Mounting Bracket | 15 | 13.2
LGE-HB-OSZ-IP65-V | 9SDA81WWD1 | High Bay Sensor, VLC | 45 | 39.6
LGE-HB-WG | MAZ6493205 | Wireguard for Round High Bay LED | 16 | 14.08
EMUFO-40170-TT |  | AC100-277V, 40W Emergency Battery Backup, IP65-Need 1 EMUFO remote per order | 295 | 259.6
EMUFO-Remote |  | Remote for UFO Highbay Emergency Battery Backup | 20 | 17.6

## Linear Strips and Wraps
Linear Lighting
ST Series |  | SD Series SHL Series |  | SH Series
EM-L2554-XX |  | EM-ILBSLCP10 LGE-MULTI-SENSOR-LS LGE-LS-BRK
ST Series
Item Number | MPN | Description | 10% | 5%
ST4B3208SU35 |  | 4' 27W Linear Light Sensor Connect Ready 120 Degree Beam Angle 3500K | 129 | 113.52 | Stock Item
ST4B3208SU40 |  | 4' 27W Linear Light Sensor Connect Ready 120 Degree Beam Angle 4000K | 129 | 113.52
ST4B3208SU50-L10 |  | 4' 27W Linear Light Sensor Connect Ready 120 Degree Beam Angle 5000K | 129 | 113.52
ST8B3215SU35 |  | 56W 8' Linear LED Light 3500K Sensor Connect Ready 120 Degree Beam Angle | 216 | 190.08
ST8B3215SU40 |  | 56W 8' Linear LED Light 4000K Sensor Connect Ready 120 Degree Beam Angle | 216 | 190.08
ST8B3215SU50-L9 |  | 56W 8' Linear LED Light 5000K Sensor Connect Ready 120 Degree Beam Angle | 216 | 190.08
SD Series
SD4B4808NU50-L10A |  | 4' Linear Low Bay LED Light Down Focus 135 Degree Beam Angle 5000K | 165 | 145.2 | Stock Item
SD8B4815SU50-L9A |  | 8' Linear Low Bay LED Light Down Focus 135 Degree Beam Angle 5000K | 273 | 240.24
SHL Series
SHL4B2432NU50 |  | 4' Linear High Output Low Bay LED Single Sided 180 Degree Beam Angle 5000K | 193 | 169.84 | Stock Item
SHL8B3432NU50-L22.R1 |  | 8' Linear High Output Low Bay LED Single Sided 180 Degree Beam Angle 5000K | 300 | 264
SH Series
SH4B3432NU50/L21.R1A |  | 4' Linear High Output Low Bay LED Double Sided 275 Degree Beam Angle w/ uplight 5000K | 213 | 187.44 | Stock Item
SH8B2465NU50-L23 R1 |  | 8' Linear High Output Low Bay LED Double Sided 275 Degree Beam Angle w/ uplight 5000K | 335 | 294.8
Accessories
EM-L2554-XX |  | 25W output Battery backup 100-277V AC | 175 | 154
EM-ILBSLCP10 |  | Emergency Battery Backup 10W, Slim Profile, 120-277V, 50/60Hz, 90 mins *ST4 and SD4 ONLY* | 240 | 211.2
LGE-DONGLE-VLC | 9CM2315WD1 | ZigBee VLC Dongle | 11 | 9.68 | Stock Item
LGE-SWITCH-2B-BT | 9SSA2B1B520 | 1-group On/Off/Dim, 2-button, wireless switch | 65 | 57.2
LGE-SWITCH-4B-BT | 9SSA2B2B520 | 2-group On/Off/Dim, 4-button, wireless switch | 65 | 57.2
LGE-SWITCH-2B-AC | 9SMB2B1B5C2 | 1-group On/Off/Dim, 2-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-AC | 9SMB2B2B5C2 | 2-group On/Off/Dim, 4-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-SC | 9SSA2S4B520 | Scene Selector, 1-Group | 85 | 74.8
LGE-SWITCH-DL |  | Dummy Load for AC powered switch | 2.5 | 2.2
LGE-MULTI-SENSOR-LS | 9SD131VVDA.ALWB001 | Smart Multi Sensor for Linear Strip | 45 | 39.6
LGE-LS-BRK | NB-LSBW1 | Sensor Bracket for Linear Strip (already included in ST) | 8 | 7.04
RCA-LINEAR-EP |  | end plate for Sensor Box removal | 2 | 1.76
AC-120 |  | 10-foot air craft cable - suspension kit single point (2-pack) | 15 | 13.2

## Commercial Downlight
Commercial Downlight
Downlight | Downlight Ring | Dongle
Multi Sensor | TBAR Clip | Ceiling Clip
Item Number | MPN | Description | 10% | 5%
LGE-CRDL-16-35-1450 | D1635RH8161 | 6" 16W, 1450lm, 3500k Comm Retrofit Downlight | 67 | 58.96 | Stock Item
LGE-CRDL-16-40-1450 | D1640RH8161 | 6" 16W, 1450lm, 4000k Comm Retrofit Downlight | 67 | 58.96
LGE-CRDL-22-35-2000 | D2235RH7181 | 8" 22W, 2000lm, 3500k Comm Retrofit Downlight | 75 | 66
LGE-CRDL-22-40-2000 | D2240RH7181 | LG Commercial Retrofit Downlight 8” 4000K 2000LM | 75 | 66
Accessories
LGE-DW-TR-8 | DTR8WA31 | Extended ring 8" (for 6" Downlight) | 6 | 5.28 | Stock Item
LGE-DW-TR-10 | DTR0WA31 | Extended ring 10" (for 8" Downlight) | 7 | 6.16
LGE-DONGLE-VLC | 9CM2315WD1 | ZigBee VLC Dongle | 11 | 9.68
LGE-SWITCH-2B-BT | 9SSA2B1B520 | 1-group On/Off/Dim, 2-button, wireless switch | 65 | 57.2
LGE-SWITCH-4B-BT | 9SSA2B2B520 | 2-group On/Off/Dim, 4-button, wireless switch | 65 | 57.2
LGE-SWITCH-2B-AC | 9SMB2B1B5C2 | 1-group On/Off/Dim, 2-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-AC | 9SMB2B2B5C2 | 2-group On/Off/Dim, 4-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-SC | 9SSA2S4B520 | Scene Selector, 1-Group | 85 | 74.8
LGE-SWITCH-DL |  | Dummy Load for AC powered switch | 2.5 | 2.2
LGE-MULTI-SENSOR | 9SD131VVDA.ALWB000 | Photo, Motion Sensor with ZigBee Dongle plugin | 45 | 39.6
LGE-TBAR-CLIP | BKTTR015122 | Troffer/T-Bar Clip for Multi Sensor | 4.05 | 3.564
LGE-CEILING-CLIP | BKTCE015123 | Ceiling Clip for Multi Sensor | 5.3 | 4.664
EM-L0854-LBF |  | 8w Low voltage LED Emergency driver Double flex | 120 | 105.6

## Parking Lot Light
Parking Lot Lights
PLA60T350/PLA100T350 | PLA150T350/PLA200T350 PLA300T350 | PLA400T350 |  |  | PLA-PC277
PLA-SF | PLA-SFA PLA-ARM PLA-ARTARM |  | PLA-RPM |  | PLA-TRM
Item Number | Description |  | 10% | 5%
PLA60T350 | LED Parking Lot Light 60W Type 3 5000K |  | 210 | 184.8
PLA100T350 | LED Parking Lot Light 100W Type 3 5000K |  | 240 | 211.2 | Quick ship
PLA100T350-480V | LED Parking Lot Light 100W Type 3 5000K 480V |  | 280 | 246.4
PLA150T350 | LED Parking Lot Light 150W Type 3 5000K |  | 280 | 246.4
PLA150T350-480V | LED Parking Lot Light 150W Type 3 5000K 480V |  | 320 | 281.6
PLA200T350 | LED Parking Lot Light 200W Type 3 5000K |  | 310 | 272.8
PLA200T350-480V | LED Parking Lot Light 200W Type 3 5000K 480V |  | 350 | 308
PLA300T350 | LED Parking Lot Light 300W Type 3 5000K |  | 360 | 316.8
PLA300T350-480V | LED Parking Lot Light 300W Type 3 5000K 480V |  | 410 | 360.8
PLA400T350 | LED Parking Lot Light 400W Type 3 5000K |  | 410 | 360.8
PLA400T350-480V | LED Parking Lot Light 400W Type 3 5000K 480V |  | 465 | 409.2
-WHT | White Finish |  | Call | Call
-SIL | Silver Finish |  | Call | Call
Accessories
PLA-SF | Slip fitter mounting for PLA series light (included) |  | N/C | N/C | Quick ship
PLA-PC277 | Photocell 277V for PLA Series Light |  | 30 | 26.4
PLA-SFA | Slipfitter Adapter for PLA series Parking Lot LED Light |  | 30 | 26.4
PLA-ARM | Arm Mount for PLA Series Lights |  | 30 | 26.4
PLA-ARTARM | Articulating Arm mount for PLA series used with Slipfitter for arm installation |  | 30 | 26.4
PLA-RPA | Round Pole Adaptor for PLA series lights |  | 30 | 26.4
PLA-TRM | Trunnion mount for PLA series lights |  | 30 | 26.4
POLE TOPPERS - Adapt / Retroﬁt Existing Poles
PLA-STA4 | Square Pole Topper-for use with 4˝ square, non-tapered steel and aluminum poles. Provides a vertical tenon with 2-3/8˝ O.D. |  | 57 | 50.16
PLA-STA5 | Square Pole Topper-for use with 5˝ square, non-tapered steel and aluminum poles. Provides a vertical tenon with 2-3/8˝ O.D. |  | 65 | 57.2
PLA-RTA3 | Round Pole Topper-for use with 3˝ round, non-tapered steel and aluminum poles. Provides a vertical tenon with 2-3/8˝ O.D. |  | 48 | 42.24
PLA-RTA4 | Round Pole Topper-for use with 4˝ round, non-tapered steel and aluminum poles. Provides a vertical tenon with 2-3/8˝ O.D. |  | 48 | 42.24
SQUARE PROFILE TENONS - 2,3 & 4 Fixtures
PLA-LPB2T | Low Profile Bullhorn with 2 Tenons-accomodate two fixtures that mount over the 2-3/8˝ O.D. vertical tenons |  | 130 | 114.4
PLA-LPB3T | Low Profile Bullhorn with 3 Tenons-accomodate three fixtures that mount over the 2-3/8˝ O.D. vertical tenons |  | 158 | 139.04
PLA-LP1203T | Triple 120˚ Horizontal Adaptor with 3 Tenons-accomodate two fixtures that mount over the 2-3/8˝ O.D. vertical tenons |  | 144 | 126.72
PLA-LP904T | Quad 90˚ Horizontal Adaptor with 4 Tenons-accomodate four fixtures that mount over the 2-3/8˝ O.D. vertical tenons |  | 158 | 139.04
WALL MOUNT BRACKETS - 1 & 2 Fixtures
PLA-WM90 | 90˚ Wall Mount-accomodate a single fixture that mounts to a stationary vertical area over the 2-3/8˝ O.D. vertical tenon |  | 52 | 45.76
PLA-WM90H | 90˚ Wall Mount-accomodate a single fixture that mounts to a stationary vertical area over the 2-3/8˝ O.D. vertical tenon |  | 52 | 45.76
PLA-WM180H | 180˚ Wall Mount-accomodate two fixtures that mounts to a stationary vertical area over the 2-3/8˝ O.D. vertical tenons |  | 125 | 110
ROUND PROFILE TENONS - 1, 2, 3 & 4 Fixtures
PLA-H1T | Single Spoke Tenon Tenon Adaptor Bracket-Mounts over the 2-3/8˝ O.D. vertical topper |  | 49 | 43.12
PLA-H1802T | Double 180˚ Horizontal 2-Tenon Adaptor Bracket-Mounts over the 2-3/8˝ O.D. vertical topper |  | 63 | 55.44
PLA-H902T | Double 90˚ Horizontal 2-Tenon Adaptor Bracket-Mounts over the 2-3/8˝ O.D. vertical topper |  | 63 | 55.44
PLA-H1203T | Triple 120˚ 3-Tenon Adaptor Bracket-Mounts over the 2-3/8˝ O.D. vertical topper |  | 66 | 58.08
PLA-H904T | Quad 90˚ Horizontal 4-Tenon Adaptor Bracket-Mounts over the 2-3/8˝ O.D. vertical topper |  | 78 | 68.64
PLA-V1802T | Double 180˚ Bullhorn-Mounts over the 2-3/8˝ O.D. vertical topper |  | 101 | 88.88
PLA-V1203T | Triple 120˚ Bullhorn-Mounts over the 2-3/8˝ O.D. vertical topper |  | 129 | 113.52
PLA-V904T | Quad 90˚ Bullhorn-Mounts over the 2-3/8˝ O.D. vertical topper |  | 151 | 132.88
PLA-H2T | Double 180˚ Horizontal 2-Tenon Adaptor Bracket-Mounts over the 2-3/8˝ O.D. vertical topper |  | 101 | 88.88
PLA-H1803T | Triple 180˚ Horizontal Adaptor with 3 Tenons- accomodate four fixtures that mount over the 2-3/8˝ O.D. vertical tenons |  | 151 | 132.88

## Dock Lights
Dock Lights
Item Number | Description | 10% | 5%
DLYL-020-40-U-90 | Dock Light, 20 Watts, 4000K, 90 degree beam angle, 120-277V | 135 | 118.8
DLYL-020-50-U-90 | Dock Light, 20 Watts, 5000K, 90 degree beam angle, 120-277V | 140 | 123.2
DLYL-030-50-U-90 | Dock Light, 30 Watts, 5000K, 90 degree beam angle, 100-277V | 145 | 127.6 | Stock Item
DLYL-050-40-U-90 | Dock Light, 50 Watts, 4000K, 90 degree beam angle, 120-277V | 160 | 140.8
DLYL-050-50-U-90 | Dock Light, 50 Watts, 5000K, 90 degree beam angle, 120-277V | 165 | 145.2
SSA40S | Single Swing Arm 40" Length with Square Mouting Plate | 110 | 96.8
DSPA60 | Double Swing Pivot Arm 60" Length (H Mounting Plate) | 120 | 105.6
FG | Frosted Glass Lens -120 Degree Optics (Standard) | N/C | N/C
WG | Wire Guard (Standard with Frosted Lens) | N/C | N/C
Dock Light | Mounting Arm
Item Number | Description | 10% | 5%
DL1-1240WS50 | Dock Light 5000K 40W with Sensor With Trunnion mount | 160 | 140.8 | Stock Item
L7LUMBRA | Dock Luminaire Mount | 160 | 140.8

## Switches
Switches
LGE-SWITCH-2B-BT LGE-SWITCH-4B-BT |  |  |  | LGE-SWITCH-2B-AC
LGE-SWITCH-4B-AC |  | LGE-SWITCH-4B-SC |  | LGE-SWITCH-DL
Item Number | MPN | Description | 10% | 5%
LGE-SWITCH-2B-BT | 9SSA2B1B520 | 1-group On/Off/Dim, 2-button, wireless switch | 65 | 57.2 | Stock Item
LGE-SWITCH-4B-BT | 9SSA2B2B520 | 2-group On/Off/Dim, 4-button, wireless switch | 65 | 57.2
LGE-SWITCH-2B-AC | 9SMB2B1B5C2 | 1-group On/Off/Dim, 2-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-AC | 9SMB2B2B5C2 | 2-group On/Off/Dim, 4-button, AC powered switch | 76 | 66.88
LGE-SWITCH-4B-SC | 9SSA2S4B520 | Scene Selector, 1-Group | 85 | 74.8
LGE-SWITCH-DL |  | Dummy Load for AC powered switch | 2.5 | 2.2

## ZAT
ZAT
| LGE-ZAT | RCA-ZAT2
Item Number | MPN | Description | 10% | 5%
LGE-ZAT | PIHN-W005B | ZigBee to Analog Transformer (Dongle not incl) | 17 | 14.96 | Stock Item
RCA-ZJB |  | ZAT Junction Box RCA-ZAT-ENC | 6 | 5.28
RCA-ZAT2 |  | Zigbee to Analog Transformer 2.0 AZA65ZBUA1 | 24 | 21.12

## Accessories
Accessories
LGE-DONGLE-VLC |  | LGE-MULTI-SENSOR LGE-TBAR-CLIP
LGE-CEILING-CLIP | RCA-VLC-USB LGE-LPCS
Item Number | MPN | Description | 10% | 5%
LGE-DONGLE-VLC | 9CM2315WD1 | ZigBee VLC Dongle | 11 | 9.68 | Stock Item
LGE-MULTI-SENSOR | 9SD131VVDA.ALWB000 | Photo, Motion Sensor with ZigBee Dongle plugin | 45 | 39.6
LGE-TBAR-CLIP | BKTTR015122 | Troffer/T-Bar Clip for Multi Sensor | 4.05 | 3.564
LGE-CEILING-CLIP | BKTCE015123 | Ceiling Clip for Multi Sensor | 5.3 | 4.664
RCA-VLC-USB | 9VS570V5DA | ZigBee Stick USB Connector with VLC | 90 | 79.2
LGE-LPCS | 9CS14N15501 | ZigBee Pre-Commissioning Station | 80 | 70.4
LGE-COMMISSIONING-HALF-DAY |  | COMMISSIONING-HALF-DAY | 1100
LGE-COMMISSIONING-FULL-DAY |  | COMMISSIONING-FULL-DAY | 2200

## Acuvim
Acuvim Meters
Item Number | Description | 10%
Acuvim II-D-333-P1-WEB2 | Circuits under 400A Meter | 837
AcuRev 2110-mV-WEB2 |  | 1099
Acuvim II-D-RCT-P1-WEB2 | Circuits over 400A Meter | 837
AcuRev 2110-mV-WEB2 |  | 1099
AcuCT-H040-60:333 | Circuits under 400A Current Transformers | 55
AcuCT-H100-120:333 |  | 73
AcuCT-H100-250:333 |  | 73
AcuCT-H138-400:333 |  | 81
RCT16-1000 | Circuits over 400A Current Transformers | 127
RCT24-2500 |  | 151
RCT36-5000 |  | 204
Instal and Pair AcuCloud | Commissioning Rate | 184